## Slide 1
Bare SWNT sensing response against 20 ppm NO2 via Keithley
Bare SWNT sensing response against 20 ppm NO2 via Arduino board
The sensing result obtained from Arduino board is comparable with result from Keitheley.
Time scale for the Ardunio’s result is milli- seconds.
Will test 6 sensors simultaneously and try to reduce the noise.